Structured Cabling Table of Contents

Lesson 1: Project Lead/Foreman Fundamentals…………………………………………..........1

Objective 1: Understand organizational structure issues in the Limited Energy industry...2

Objective 2: Incorporate leadership fundamentals into the workplace……………………4

Objective 3: Understand different ways to promote good work habits including motivation, team building, troubleshooting problems, communication skills, and decision-making…………………………………………………………………………...6

Objective 4: Explain how safety issues impact job performance including cost of accidents affect the workplace…………………………………………………………….7

Objective 5: Define the safety responsibilities of a Project Lead/Foreman for a typical job site………………………………………………………………………………………..12

Objective 6: Demonstrate an understanding of planning, scheduling, estimating, and obtaining necessary resources to install a Limited Energy system………………………14

Objective 7: Understand the tools, equipment, and materials required for Limited Energy installations………………………………………………………………………………16

Lesson 2: Estimating, Project Planning, and Project Documentation………………………..31

Objective 1: Have a basic understanding of project documents, including drawings, specifications, and scope of work………………………………………………………..32

Objective 2: Interpret contract documents and determine the materials and tasks required to provide an estimate……………………………………………………………………62

Objective 3: Develop an installation schedule that includes major tasks………………..64

Objective 4: Show an understanding of typical contract documentation including (but not limited to) RFIs, Addenda, Change Orders, Liens, Punch List, and Project Logs………66

Objective 5: Perform a job estimate and include a list of materials and major labor tasks associated with the project scenario……………………………………………………...68

Lesson 3: Racks, Cabinets, Enclosures, and Pathways………………………………………...71

Objective 1: Understand organizational structure issues in the Limited Energy industry.72

Objective 2: Understand different grounding/bonding methods used for racks, cabinets, and enclosures……………………………………………………………………………75

Objective 3: Understand ANSI/TIA 607 Standard (Grounding & Bonding) BICSI Involvement……………………………………………………………………………...78

Objective 4: Calculate heat dissipation and power requirements for a rack, cabinet, or enclosure installation…………………………………………………………………….80

Objective 5: Determine the appropriate rack, cabinet, or enclosure for different applications………………………………………………………………………………81

Objective 6: Explain the different techniques used to keep racks, cabinets, and enclosures from overheating…………………………………………………………………………82

Objective 7: Prepare an equipment rack layout design and assemble it according to the design…………………………………………………………………………………….83

Objective 8: Understand ANSI/TIA 569-Standard (Pathways and Spaces)……………..85

Objective 9: Understand how and perform simple conduit bends (box offset, 90 degree, back-to-back, offset, 3-point saddle)…………………………………………………….87

Lesson 4: Structured Cabling…………………………………………………………………...91

Objective 1: Understand different category ratings of cables and their performance characteristics………………………………………………………………………….....92

Objective 2: Determine different types of cables used for different environmental conditions………………………………………………………………………………...93

Objective 3: Understand different copper termination tools (single blade, multi-gang, all-in-one, etc.) for the various types of data transmission cables. Perform cable terminations.

Objective 4: Understand different test equipment (wire map, length, certification, etc.). Perform speed performance testing on various category-rated cables…………………...95

Objective 5: Understand TIA 568 Standard (Telecommunications Cabling)……………96

Objective 6: Understand TIA 606 Standard (Labeling/Administration)………………...97

Objective 7: Interpret National Electrical Code® Article 725 as it pertains to PoE (Power over Ethernet) and -LP cable. Perform simple power calculations using various size cable bundles, different ambient temperature ratings, and different gauge conductors………..99

Lesson 5: Network Topologies…………………………………………………………………103

Objective 1: Explain the different type of network topologies and their advantages/disadvantages………………………………………………………………104

Objective 2: Understand how data information is transferred using different network topologies……………………………………………………………………………….105

Objective 3: Explain how data communication in an addressable type network is accomplished……………………………………………………………………………105

Objective 4: Identify different types of protocols used in data transmission…………..106

Objective 5: Design a basic data network………………………………………………107

Objective 6: Demonstrate how to identify existing devices (IP addresses) on an existing network…………………………………………………………………………………108

Objective 7: Demonstrate ability to configure IP and serial communication parameters on a personal computer…………………………………………………………………….109

Objective 8: Explain various troubleshooting procedures to identify access issues into a network…………………………………………………………………………………109

Lesson 6: Fiber Optic Cabling………………………………………………………………...111

Objective 1: Explain the basic principles on how fiber optic cables transmit information……………………………………………………………………………...112

Objective 2: Describe the various type of fiber optic cable, their performance characteristics, and uses………………………………………………………………...113

Objective 3: Explain the various types of installation methods used for optical fiber cable…………………………………………………………………………………….115

Objective 4: Design and identify parts needed to install a basic optical fiber cable for a particular type of installation…………………………………………………………...116

Objective 5: Perform an optical fiber termination and/or splice……………………….118

Objective 6: Understand different types of test equipment used for fiber optics and how they are used……………………………………………………………………………120

Objective 7: Demonstrate fiber optic testing on a basic fiber link……………………..121

Objective 8: Understand TIA 568 standard as it pertains to fiber optic cables………...122

Lesson 7: Wireless……………………………………………………………………………..123

Objective 1: Describe the various types of wireless communication…………………..124

Objective 2: Identify basic parts of a wireless network and explain the function of each component……………………………………………………………………………....125

Objective 3: Understand limitations of wireless communication………………………126

Objective 4: Describe how wireless antennas are to be installed and how they should be mounted…………………………………………………………………………………126

Objective 5: Explain the types of equipment and how it would be used to troubleshoot a wireless network………………………………………………………………………..126

Lesson 8: System Acceptance & User Training……………………………………………….127

Objective 1: Describe what a system acceptance process is and how it applies to specific limited energy systems………………………………………………………………….128

Objective 2: Explain what key factors are necessary to develop a proper user training class……………………………………………………………………………………..128

Objective 3: Create a sample system performance test with the steps and tools needed to conduct the test…………………………………………………………………………129

Lesson 9: System Maintenance and Repair…………………………………………………...135

Objective 1: Explain what preventive maintenance is for a limited energy system……136

Objective 2: Understand how to use proper static discharge devices and techniques when performing repairs on Electrostatic Discharge (ESD) static sensitive components……136

Objective 3: Explain how to troubleshoot a low-voltage power supply……………….136

Objective 4: Explain or demonstrate how to use the tools that are used to identify wiring faults…………………………………………………………………………………….137

Objective 5: Understand how to determine software/program failure from hardware failure in a limited energy system………………………………………………………137

Objective 6: Understand Lock-Out Tag-Out procedures and how they may be connected to limited energy systems……………………………………………………………….138

Objective 7: Develop a systematic troubleshooting checklist including the necessary tools required to perform a limited energy system repair…………………………………….138