Power over Ethernet Table of Contents

Lesson 1: Basic PoE Lighting System Overview………………………………………………………..1

Objective 1: Define Power over Ethernet and understand how it can be used to provide lighting…………………………………………………………………………………………….4

Objective 2: List the benefits of using Power over Ethernet to control lighting systems……………………………………………………………………………………………………..6

Objective 3: Explain the limitations of Power over Ethernet and describe possible solutions…………………………………………………………………………………………………….7

Objective 4: Describe a Power over Ethernet lighting system and its uses……………..9

Lesson 2: Standards and History of PoE………………………………………………………………..13

Objective 1: Describe the differences between protocols, standards, specifications, and other related terms……………………………………………………………………………….14

Objective 2: Understand and become familiar with the history and development of Power over Ethernet……………………………………………………………………………………16

Objective 3: Understand the differences between the IEEE 802.3 standard revisions……………………………………………………………………………………………………18

Lesson 3: PoE vs Traditional Lighting…………………………………………………………………….23

Objective 1: Describe how Power over Ethernet lighting can meet NEC® requirements…………………………………………………………………………………………….29

Objective 2: Describe the significant differences between Power over Ethernet lighting systems and traditional AC lighting…………………………………………………….33

Objective 3: Understand and become familiar with the differences between Power over Ethernet lighting systems and other LED lighting control systems……………….37

Objective 4: Understand and become familiar with current wireless lighting control systems……………………………………………………………………………………………………38

Lesson 4: System Components……………………………………………………………………………45

Objective 1: Understand how power is delivered to Power over Ethernet devices….47

Objective 2: Understand the different types of power output levels for Power over Ethernet devices………………………………………………………………………………………..52

Objective 3: Describe how control modules function……………………………………….62

Objective 4: Understand the features related to Power over Ethernet lighting………67

Lesson 5: Standards and Specifications……………………………………………………………….73

Objective 1: Understand industry standards affecting Power over Ethernet lighting……………………………………………………………………………………………………..74

Objective 2: Understand how manufacturer specifications relate to products and the installation of Power over Ethernet lighting………………………………………………..77

Objective 3: Describe the NEC® articles and sections that pertain to Power over Ethernet lighting…………………………………………………………………………………………79

Lesson 6: Wiring…………………………………………………………………………………………………87

Objective 1: Understand the importance of using manufacturer wiring specifications and wiring manuals…………………………………………………………………………………….89

Objective 2: Describe the sizing requirements for AC circuits and wiring and where outlets are required for Power over Ethernet lighting systems……………………………91

Objective 3: Understand DC wiring, including wire gauge, solid wire, stranded wire, and voltage/power losses…………………………………………………………………………….95

Objective 4: Describe how a Power over Ethernet lighting system is wired…………100

Lesson 7: Connections………………………………………………………………………………………133

Objective 1: Understand the basics of the different connectors, their wiring methods, pin-out configuration, and the tools used to install them………………….135

Objective 2: Understand how to perform control module and main panel connections…………………………………………………………………………………………….143

Objective 3: Understand how to perform IP addressing and other configurations relevant to Power over Ethernet lighting……………………………………………………….146

Objective 4: Describe how control and lighting connections are made……………..160

Lesson 8: System Design & Estimating………………………………………………………………..165

Objective 1: Describe the nature of light and be familiar with the terminology and pre-design considerations associated with lighting systems……………………………168

Objective 2: Describe how to design a simple Power over Ethernet lighting system……………………………………………………………………………………………………173

Objective 3: Understand how to prepare a lighting system estimate…………………182

Lesson 9: System Testing & Documentation………………………………………………………..187

Objective 1: Describe what system testing is required for Power over Ethernet lighting……………………………………………………………………………………………………189

Objective 2: Understand what types of documentation should accompany an installation………………………………………………………………………………………………193

Lesson 10: Troubleshooting……………………………………………………………………………….197

Objective 1: Understand troubleshooting methods, both in general and as they relate to Power over Ethernet lighting systems………………………………………………198

Objective 2: Understand the basics of troubleshooting data connectivity in a Power over Ethernet lighting system……………………………………………………………………..200

Objective 3: Understand troubleshooting the Power over Ethernet network equipment rack or enclosure as well as the control modules of Power over Ethernet lighting systems……………………………………………………………………………………….205

Objective 4: Explain how to troubleshoot controls, Power over Ethernet lights, and other accessories…………………………………………………………………………………….210